I live way out in the woods of VA.  I built an off grid house about 3 years ago. 

Current setup is;

9,000 amp hour battery bank at 24 volts (bank is broken in to 6 1500 banks for matinees)

10 500 watt PV panels wired in 24 volts

2 homemade wind generators putting out 15 amps at 24 volts each 

Old charge controller that dumps off to a water heater element

3 old inverters that put out 50 amps at 240 volts AC
My battery bank is 40 AMG DT12-55C 450CCA.  There 4 years old.  I try not to cycle them down very far.  

I’m working on a hydro project right now I’m working too much to finish the project.  I do have 20-25 feet of head.   

I’m planning on switching all of my electronics to Outback in the next few months.  

I want to add AC and heat to my house so I don’t have to burn as much wood.  But I need to upgrade my system first.  
