## Sheet1
Date | Watts Pk | Whrs | Ah | A/pk
2008-08-16 | 47.7 | 298.2 | 22.367 | 3.55 |  | Note: During this month, 5 panels were operating. We had 2 hurricane remnants pass over us.
2008-08-17 | 51.4 | 277.2 | 20.681 | 3.79 |  | Deep dark clouds over us for a couple of days dropped the output very low. Panels were in
2008-08-18 | 55.5 | 284.4 | 21.03 | 4.08 |  | parallel for 12V output. Cooler mornings this month pushed peak watts over 60W. Hope to see
2008-08-19 | 48.9 | 284.3 | 20.685 | 3.58 |  | better peak watts this winter with lower temps. Need to meter my loads with one of the Watts UP
2008-08-20 | 23.1 | 65.9 | 5.209 | 1.79 |  | meters. May have more loads than my average AH/Day warrants. Will see what 6 total panels will
2008-08-21 | 59.1 | 93.2 | 7.305 | 4.52 | Chg Batts w/Chrgr | do this month connected for 36V into the SS-MPPT. It took HF a whole month to replace a panel
2008-08-22 | 55.9 | 230.3 | 17.391 | 4.22 |  | that was obviously dead out of the box. Note to self; Check HF panels in HF's parking lot.
2008-08-23 | 53 | 244.1 | 18.166 | 3.88 |  |  | Graph is Amps Pk
2008-08-24 | 54.9 | 283.5 | 20.677 | 3.98
2008-08-25 | 47.3 | 277.5 | 19.983 | 3.35
2008-08-26 | 45.4 | 216.5 | 15.991 | 3.27
2008-08-27 | 45.2 | 246.1 | 18.283 | 3.3
2008-08-28 | 47.6 | 185 | 13.994 | 3.52
2008-08-29 | 50.3 | 226.1 | 16.922 | 3.7
2008-08-30 | 45.8 | 277.4 | 20.56 | 3.37
2008-09-01 | 67.7 | 216.5 | 16.027 | 4.53
2008-09-02 | 45.4 | 151.8 | 11.442 | 3.31
2008-09-03 | 7.8 | 30.4 | 2.44 | 0.62
2008-09-04 | 11.9 | 16.3 | 1.323 | 0.94 | Chg Batts w/Chrgr
2008-09-05 | 44.2 | 88.1 | 6.779 | 3.35
2008-09-06 | 41.7 | 136.6 | 10.363 | 3.09
2008-09-08 | 63.2 | 347.2 | 26.094 | 4.67
2008-09-09 | 48.2 | 269.3 | 19.963 | 3.53
2008-09-10 | 45.9 | 258.8 | 19.152 | 3.36
2008-09-11 | 38.3 | 87.3 | 6.778 | 2.87
2008-09-12 | 54.9 | 116.1 | 8.923 | 4.07
2008-09-13 | 51.1 | 60 | 4.663 | 3.65
2008-09-14 | 65.3 | 105.8 | 7.995 | 4.78
2008-09-15 | 8.8 | 34.6 | 2.751 | 0.69 |  | Batteries are (2)6V Sam's Golf Cart batteries in series, fused at 75A
2008-09-16 | 51 | 258 | 19.173 | 3.75 |  | Various other small batteries are paralleled in system to keep them charged.
| 45.8833 | 5666.5 | 14.1037
5.666KWH!!!!!!!!!
All data taken daily with a Watts Up meter at the battery output of a SunSaver MPPT controller.
Loads Running this month:
Linksys WRT54GL router |  |  | 24/7 |  | .250A | 6Ah
Small 5 port 100MB switch |  |  | 24/7 |  | .150A | 3.6Ah
2 meter Radio Radio shack HTX242 |  |  |  | 16/7 | .450A | 7.2Ah
16.8Ah Total/Day
Not quite enough solar to handle this load.
Another set of 3 should do 25Ah average.
Really need to add the RCA cablemodem to the load |  |  |  |  | .5A | 12Ah
28.8Ah Total/Day
Another set of 3 to bring to a total of 12 panels should do ~33Ah as average.
Another set of 3 to bring to a total of 15 panels should do ~42Ah as average.
Another set of 3 to bring to a total of 18 panels should do ~50Ah as average.
Another set of 3 to bring to a total of 21 panels should do ~59Ah as average.
SunSaver Mppt can only handle 200W or 15A max to batteries, so I probably can't
go over about 18 panels on this controller as long as I am at 12V battery.
All data was taken at 38.5N. Lat 91.01W Long. Washington, MO